Metal Chelate Affinity Chromatography

Connect chelating column to pump C and wash out preservatives with 2 column volumes of water

Charge with 5 column volumes of 200mM CoCl2 at 1ml/min

Wash with water until eluent is clear and column is uniform pink

Equilibrate with buffer A without DTT and imidazole

Load sample at 0.5 ml/min and collect flow through (may repeat loading)

Wash sample holder with a little buffer and load last bit over column

Wash pumps A and B with appropriate buffers and program gradient

Connect pump A and B lines to column and begin washing and elution (#2)

Method

0.00 CONC % B		0.0

0.00 ML/MIN			0.50

0.00 CM/ML			0.50

0.00 PORT.SET		6.1

0.00 VALVE.POS		1.1

15.00CONC %B		0.0

15.00 ML/MIN		0.50

15.00 CM/ML		0.50

15.00 PORT.SET		6.1

15.00 VALVE.POS		1.1

60.00 CONC %B		100

60.00 ML/MIN		0.50

60.00 CM/ML		0.50

60.00 PORT.SET		6.1

60.00 VALVE.POS		1.1

75.00 CONC %B		100

75.00 ML/MIN		0.50

75.00 CM/ML		0.50

75.00 PORT.SET		6.0

75.00 VALVE.POS		1.1

76.00 CONC %B		0.0

76.00 ML/MIN		0.50

76.00 CM/ML		0.50

76.00 PORT.SET		6.0

76.00 VALVE.POS		1.1

90.00 CONC %B		0.0

90.00 ML/MIN		0.50

90.00 CM/ML		0.50

90.00 PORT.SET		6.0

90.00 VALVE.POS		1.1

Solutions:

# Phosphate Buffer A

50mM Na-PO4 pH 8.0	46.6ml 1M Na2 PO4 + 3.4ml 1M NaH2PO4

300mM NaCl		60ml 5M

10% glycerol		100ml

# Phosphate Buffer B

50mM Na-PO4 pH 8.0	46.6ml 1M Na2 PO4 + 3.4ml 1M NaH2PO4

300mM NaCl		60ml 5M

10% glycerol		100ml

400mM imidazole		27.23g

Lysis Buffer			500ml

20mM Na-PO4		8.96ml Na2PO4 + 1.04ml NaH2PO4 pH 7.8

20mM NaCl			2ml 5M

1mM PMSF

1(g/ml leupeptin

2(g/ml aprotinin pH 7.8

1M Na-PO4 Buffer(932ml 1M Na2PO4 + 68ml 1M NaH2PO4

Lyse and dounce cells in lysis buffer 1ml/150mm plate

Bring Na-PO4 to 50mM and NaCl to 300mM

Add 560(l per 10ml(5M NaCl) Add 300(l 1M pH 7.8 Na-PO4

Dounce cells and spin at 45K for 1h

Load over the column

Collect fractions containing the desired protein from chelating column

Dilute 6 fold with Buffer C (0M NaCl)  + 50mM NaCl

Apply to 1ml Hitrap Q equilibrated in C + 50 mM NaCl

Wash with 10ml C + 50 mM NaCl

Elute with linear gradient from 50-500mM NaCl in C

Cyclin H-His elutes ~300mM

Buffer C + 50 mM NaCl		1liter

25mM Hepes pH 7.4		25ml 1M

50mM EDTA			2ml	0.5M

50mM NaCl				10ml

10% glycerol			100ml

Add 1mM DTT

Buffer C + 500 mM NaCl	1liter

25mM Hepes pH 7.4		25ml 1M

50mM EDTA			2ml	0.5M

50mM NaCl				100ml

10% glycerol			100ml

Add 1mM DTT