## Slide 1
This clinical refresher is an opportunity to learn more about a procedure or clinical activity for which one has had a previous learning experience. This activity is not intended to be an initial learning experience. In order to effectively and safely perform the procedures depicted in this refresher, one must have additional didactic clinical learning experiences. Participating in this type of clinical refresher in isolation of other learning experiences does not qualify an individual to conduct the procedure or clinical activity covered by this clinical refresher. The activity is intended to support the maintenance of professional qualifications of nuclear medicine technologists.

## Slide 2: Hepatobiliary Imaging

## Slide 3: Background
1950s: Iodine-131 Rose Bengal used to evaluate hepatic uptake and excretion, neonatal hepatitis vs biliary arteria
  Scintillation well counters and probes
  Slow transit time and high radiation burden
Late1970s and 1980: technetium radiopharmaceuticals became the standard
  Improved resolution
  Reduced radiation burden
  Applicable to current gamma camera technology
“HIDA” is the general term for any technetium-based hepatobiliary radiopharmaceutical

## Slide 4: Rationale
After IV administration of HIDA, hepatocytes pick up tracer
HIDA and bilirubin compete for the same sites on hepatocytes
HIDA becomes incorporated into the production of bile
Excessive levels of bilirubin (>20mg/dL) may effect and/or reduce HIDA uptake
The presence or lack thereof may indicate a problem
  HIDA flows to the right/left hepatic ducts (R/LHD), fown the common hepatic duct (CHD), into the cystic duct (CD)/gall bladder (GB), fown the common bile duct (CBD), passes the sphincter of oddi (SOO), and dumps into the duodenum (D), or small intestine.
  www.people.vcu.edu/~mhcrosthwait.

## Slide 5: Indications7
Primary reason for a HIDA scan
  Suspected cystic duct obstruction (acute cholecystitis) usually caused by a stone lodged in the cystic duct
Rule out any blockage along the hepatobiliary tree
Assess outcome of a liver transplant; post-surgical leaks
Biliary atresia vs neonatal hepatitis
Bile reflux
Patient symptoms
  Pain in the right side of the
  abdomen
  Jaundice
www.people.vcu.edu/~mhcrosthwait.

## Slide 6: Contraindications7
Pregnancy or breastfeeding
  Follow institutional guidelines
Hypersensitive to HIDA
Patient should be off of all opiates
  May cause constriction of the SOO
NPO  24 hrs
  Causes GB stasis; requires pre-treatment of sincalide

## Slide 7: Radiopharmaceuticals3
99mTc-Lidofenin (HIDA)
  Limitation – poor imaging results when bilirubin level is greater than 8mg/dL2
  Patients with normal liver functions -15% is excreted by the kidneys
99mTc Disofenin (DISIDA/Hepatolite)
  Increased uptake in the liver with less renal excretion
  Hepatic tree visualized up to 20mg/dL of bilirubin
99mTc Mebrofenin (BROMIDA/Choletec) were later developed
  Has 98% hepatobiliary uptake
  Least effected by higher levels of bilirubin

## Slide 8: Patient Medical History7
All medications, lab values and surgeries
Review previous imaging studies
History of hepatobiliary problems: e.g., acute cholecystitis and stones
Problems following a cholecystectomy, other surgeries
  Fever, belly pain, vomiting
New RUQ pain
In an infant, jaundice may indicate biliary atresia

## Slide 9: Patient Prep / Education
Patient Prep
  NPO 4 - 6 hrs; < 24 hrs
  Taken off TPN if applicable
  D/C all forms of opiates
Patient Education
    Imaging lasts at least 1 hour; additional delayed images possible
    Stomach discomfort possible with sincalide
    Outpatients must have a designated driver in case morphine is used

## Slide 10: Imaging Preparations7
If patient is NPO > 24 hrs or on TPN, administer sincalide 1/2 hr prior to HIDA injection
If on an opiate, d/c opiate prior to HIDA injection
  Morphine sulfate PO - 2 to 4 hrs
  Morphine sulfate IV - 2.1 to 2.6 hrs
  Dilaudid - at least 8 hrs
  Fentanyl transdermal patch – at least 80 hrs

## Slide 11: General Acquisition Parameters
Large FoV
Collimator: LEGAP or LEHR
Imaging matrix size
  Dynamic: 128 x 128
  Static: 256 x 256
Suggest zooming on pediatric pts
Energy window set at 20%; peak at 140 keV
Dosing via IV injection
  Adults: 6 mCi (222 MBq)
  Pediatrics: 0.05 mCi (1.85 MBq)/kg8

## Slide 12: Image Acquisition
Start imaging after radiotracer administration
Dynamic Protocol
Take 1-min images for 60 min
Study is completed when activity seen in GB and small intestine
Static Protocol
  Normal plan: every 5 min for up to 1 hr
  Each image should be 500k to 700k counts
  256 x 256 matrix
  If GB uptake questionable
    Additional static images
    LAO, RAO, and/or R-LAT to rule out bowel loop
http://www.nucmedreview.com/cases/gi/gi.html.

## Slide 13: Image Acquisition (cont.)
If GB and/or small intestine not visualized
  Continue until GB and small bowel are seen
  Continue until all activity leaves the liver (3 – 4 hrs)
    If complete blockage, imaging may take up to 24 hrs
If activity dumps into the small bowel but not seen in GB at 1 hr post-injection, consider giving morphine sulfate (MS)
  MS constricts SOO, causes pressure to build up in CBD
    If no blockage, activity enters GB; exam is completed
  MS dose/administration/imaging
    0.04 mg/kg of body wt
    IV administration for 2 - 3 mins
    Image dynamic or static for 30 - 60 additional mins
      If GB appears - the study is normal.
      If GB does not appear - pt has acute cholecystitis

## Slide 14: Sincalide/Kinevac Augmentation11
GB stasis occurs if pt has been NPO >24 hours or if on TPN. To stimulate GB contraction, give Kinevac
    Dose: 0.02 µg/kg of body wt over 30 - 60 min
Assessment of GB ejection fraction
  If activity dumps into small bowel and GB is at maximum fill (30 - 60 min post-injection), administer Kinevac (use above dose)
  Infusion times
    Administer dose over 60 min; take images 1 min per frame5
    The 3-min dose protocol uses a syringe pump for even tracer distribution
    NOTE: the 3-min protocol may cause significant nausea compared to the 60-min method

## Slide 15: Compounding and Administering Kinevac
www.people.vcu.edu/~mhcrosthwait.

## Slide 16: Image Processing
Ziessman et al: 60-min Kinevac admin9
  First min: pre-Kinevac administration
  Dynamic acquisition
  ROIs drawn around GB and BKG
  Time active curve is generated
    ≥ 38%: EF is normal
    Below 38%: acalculous cholecystitis
https://www.auntminnie.com/Acute Cholecystitis. Accessed 8-16-20.
Use the following formula for GBEF

## Slide 17: Substituting Sincalide9
If sincalide is not available, a lactose-free, fatty meal protocol can be used:
  Administer 240 mL of lactose-free supplement (Ensure Plus) containing 11.4 gm of fat
  Image acquisition: 60 min set at 1-min per frame
  Using the EF formula from previous slide: draw ROIs around the GB and generate time activity curves
  The normal lower limit should be 33%
  Note: This method is not as reliable as using sincalide

## Slide 18: Combining MS with Kinevac
Following the administration of MS and the visualization of the GB, there may be a need to determine gal bladder ejection fraction
The concern with this approach - contraction of the SOO may falsely lower the ejection faction when Kinevac is given
Achong and colleagues concluded that normal ejection fraction can be determined if there is a 30 minute delay between MS and Kinevac10

## Slide 19: Normal Hepatobiliary Scan – 1 Hour Dynamic
    Initial images show normal perfusion into hepatic cells
    As time progresses activity is seen in the right and left hepatic duct
    Activity continues down the common bile duct, fills GB, dumps into the small bowel
    Caveat - Bile reflux is noted on the last image
www.people.vcu.edu/~mhcrosthwait.

## Slide 20: Partial Obstruction
High bilirubin level; causes poor tracer uptake
75-min image
  Activity still in vascularture
  Poor uptake in the GB
  Hepatobiliary tree not seen
80-min image
  Kidney uptake
  Indicates high bilirubin
7 hrs post-dose: small bowel finally seen
Image legend: a – GB, b – femoral arteries, c – liver, d – kidney, e – shielding GB, g – small bowel
www.people.vcu.edu/~mhcrosthwait.
Note: lengthy imaging time to tracer visualization indicates partial obstruction

## Slide 21: Acute Cholecystitis
  30 min post-injection
    Activity seen in the small bowel
  2 hrs post-injection
    No activity in the liver
    GB not visualized
    Extensive activity in the small bowel
Left: http://www.ultrasound-images.com/gall-bladder.htm
www.people.vcu.edu/~mhcrosthwait.

## Slide 22: Bile Leak
Post-laparoscopic cholecystectomy
Pt returned to ER 10 days
  Abdominal pain
  Vomiting
  Low-grade fever
Imaging shows leak caused by the surgery
www.people.vcu.edu/~mhcrosthwait.

## Slide 23: Biliary Atresia
Pediatric Pt: biliary atresia vs neonatal hepatitis
Prior to exam: pretreat pt with phenobarbital to enhance bile flow
Suggested dose prior to procedure
  5mg/kg/day for 5 days
https://www.slideshare.net/jiraporn_biliary atresia. Accessed 8-16-20.
These images are an example of no activity flowing out of the liver into the hepatobiliary tree. Activity seen only in liver and urinary bladder at 24 hrs.

## Slide 24: References
Taplin, et al. J Lab Clin Med 1955 May;45(5):665-78.
Wochenschr SM. Hepatobiliary scintigraphy: a functional test. 1978 Dec 2;108(48):1896-9.
Datz FL. Handbook of Nuclear Medicine, 2nd Edition, Mosby 1992.
Tc-99m BrIDA Hepatobiliary (“HIDA”) Scan (online) http://www.nucmedresource.com/hepatobiliary-hida-scan.html.
Ziessman HA et al. 2010 J Nucl Med. 2010;51:277-281 (online) http://jnm.snmjournals.org/content/51/2/277.full.pdf.
Kwatra N, et al. Pediatr Radiol 2013;16(10):1365-75 (online) https://link.springer.com/article/10.1007%2Fs00247-013-2704-3.
Tulchinsky M, et al. SNM Practice Guideline for Hepatobiliary Scintigraphy 4.0. J Nucl Med 2010 Dec;38:4 (online) http://snmmi.files.cms-plus.com/docs/Hepatobiliary_Scintigraphy_V4.0b.pdf.
Treves, ST. Pediatric Nuclear Medicine. New York: Springer 1995.
Ziessman HA, et al. J Nucl Med 2003;44(3) 1263-1266 (online) http://jnm.snmjournals.org/content/44/8/1263.full.
Achnog DM, et al. Clin Nucl Med 1999;NOv24(11):837-841 (online) https://pubmed.ncbi.nlm.nih.gov/10551461/
Krishnamurthy, GT, et al. Comparison of Fatty Meal and Intravenous Cholecystokinin Infusion for Gallbladder Ejection Fraction. (online) http://jnm.snmjournals.org/content/43/12/1603.full.pdf+html. J Nucl Med December 1, 2002 vol. 43 no. 12 1603-1610

## Slide 25
This online educational activity is provided free of charge to nuclear medicine technologists through funding by The American Registry of Radiologic Technologists (ARRT) to the Society of Nuclear Medicine and Molecular Imaging (SNMMI).
The clinical refreshers are the property of SNMMI, who also possesses the copyright in the works and makes them available to interested health care professionals via a license.